## calculation
|  | W | RM/W | RM | PVAF (Present Value) | Factor (RM/W p.a.) | CF | Wh | RM/MWh |  | Currency Conversion
Solar photovoltaics capital costs | PV | 1 | 4.47 | 4.47 | 14.0939 | 0.31716 | 15% | 1314 | 309.4045 |  | USD | RM
Solar photovoltaics fixed operation and maintenance | PV-FOM |  |  |  |  | 0.0894 |  |  |  |  | 1 | 4.71
Pumped hydro capital costs (power capacity) | PHP | 1 | 32.3813 | 32.3813 | 18.2559 | 1.7737
Pumped hydro fixed operation and maintenance costs | PHES-FOM |  |  |  |  | 0.64763
|  | Wh | RM/Wh | RM | PVAF | Factor (RM/Wh p.a.) |  |  |  |  | 0.40656
Pumped hydro capital costs (energy capacity) | PHS | 1 | 0.2355 | 0.2355 | 18.2559 | 0.0129 |  |  |  |  | 2.4214
|  | W | RM/W | RM | PVAF | Factor (RM/W p.a.) |  |  | Type | Length (m)
HVDC transmission from peninsular to Borneo MY capital costs | PBMY | 1 | 12.717 | 12.717 | 15.3725 | 0.82726 |  | AWIJ | Submarine | 1350
AC costs associated with PV | ACPV | 1 | 0.0471 | 0.0471 | 17.1591 | 0.0027449
Existing hydro capital costs | Hydro |  | 7 |  |  | 0.007
Factor (billion RM p.a.)
Legacy pumped hydro costs | LegPH |  |  |  |  | 0
Legacy interconnection costs | LegINTC |  |  |  |  | 0
Note.
W to RM equiv. to MW to million RM, GW to billion RM, Hydro and bio: MWh to billion RM
RM/MWh equiv. to million RM/TWh or billion RM/PWh
HVDC: 200 USD/MW-km, 200,000 USD/MW-pair |  |  |  | 1 | 7000000 | RM/MW |  | 6 | RM/MW
HVAC: 1000 USD/MW-km |  |  |  | 300 | 2100000000 | RM/W |  | 6e-06 | RM/W
7

## factor
PV | 0.40656
#NAME? | #NAME?
Inter | #NAME?
PHP | 2.4214
PHS | 0.0129
PBMY | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
#NAME? | #NAME?
ACPV | 0.0027449
#NAME? | #NAME?
Hydro | 0.007
LegPH | 0
LegINTC | 0